/* HotWater.h */

#define NUM_SCREENS 6
#define MENU_ON_SECONDS 30
#define BACK_LIGHT_TIMER_MIN 10
#define NUM_DS18B20 5
#define NUM_DS18B20_ADDRESS_BYTES 8
#define NUM_IP_ADDRESS_BYTES 4
#define NUM_MAC_ADDRESS_BYTES 6
#define STIEBEL_TEMP_START 107

/* I2C stuff */
#define MASTER_ADDRESS 1
#define SLAVE_ADDRESS 2
#define CLOCK_ADDRESS 0x68 /* decimal 104 */

/* Offsets into the Menu->item structure in EEPROM */
#define WTR1HS2GG3_LOC 0
#define AUTO_MAN_LOC 1
#define FREEZE_LOC 2
#define USE_TANK1_LOC 3
#define USE_TANK2_LOC 4
#define MAX_TANK_TEMP_LOC 5
#define TEMP_DIFF_MAX_LOC 6
#define TEMP_DIFF_MIN_LOC 7
#define HEAT_ENABLED_LOC 8
#define DUMP_TIME_HR_LOC 9
#define DUMP_TIME_MIN_LOC 10
#define ZONE_OFF_TIMER_LOC 11
#define SENSOR_ERR_TH_LOC 12
#define END_SWTCH_SEC_LOC 13
#define IP_PORT_LOC 14
#define IP_ADDRESS1_LOC 15
#define MAC_ADDRESS1_LOC 19

/* Offsets into the SensorsEE struct in EEPROM */
#define COLLECTOR_LOC 0
#define T1TOP_LOC 1
#define T1BOT_LOC 2
#define T2TOP_LOC 3
#define T2BOT_LOC 4

struct sensorEE {
    byte addr[NUM_DS18B20_ADDRESS_BYTES];
    char location[10];
};

struct TempSensor {
    float temp;
    float avgsum;
    byte avgcnt; /* max of 255. each sensor is read every 5 seconds so get ~21minutes of reads */
    byte failcnt;
};

struct screens {
    char *ScreenName;
    void (*ScreenFunc)(byte, byte);
};

struct sensorsEE {
    struct sensorEE Collector;
    struct sensorEE T1Top;
    struct sensorEE T1Bot;
    struct sensorEE T2Top;
    struct sensorEE T2Bot;
};

struct item {
    char desc[12];
    byte min;
    byte max;
    byte dft;
    byte act;
};

struct menu {
    struct item Wtr1Hs2Gg3;
    struct item AutoMan;
    struct item Freeze;
    struct item UseTank1;
    struct item UseTank2;
    struct item MaxTankTemp;
    struct item TempDiffMax;
    struct item TempDiffMin;
    struct item HeatEnable;
    struct item DumpTimeHr;
    struct item DumpTimeMin;
    struct item ZoneOffTimer;
    struct item SensorErrTh;
    struct item EndSwtchSec;
    struct item IPport;
    struct item IP1;
    struct item IP2;
    struct item IP3;
    struct item IP4;
    struct item MAC1;
    struct item MAC2;
    struct item MAC3;
    struct item MAC4;
    struct item MAC5;
    struct item MAC6;
};

struct slave_status {
    byte pin;
    boolean state;
    unsigned long start_millis;
    unsigned long elapsed_millis;
    char desc[7];
};

/* Button Inputs */
#define BACKBUTTONPIN 5
#define UPBUTTONPIN 6
#define DNBUTTONPIN 7
#define SAVEBUTTONPIN 8

/* Heat Enabled inputs */
#define HeatEnabledPin 3

/* Zone Valve End Switches */
#define ZoneValveEndSwitchPin 17
#define WizNetResetPin 9

/* DS18B20 temp sensor input pin */
#define DSTempSensors1Pin 4
#define DSTempSensors2Pin 2 /* Collector temp sensor */

/* Slave Pin outputs */
#define NUM_SLAVE_PINS 9
#define PUMP_PIN 17
#define PUMP_GARAGE_PIN 16
#define ZONE_WATER_TANK1_PIN 15
#define ZONE_WATER_TANK2_PIN 14
#define ZONE_HOUSE_PIN 10
#define ZONE_GARAGE_PIN 9
#define ZONE_STIEBEL_PIN 8
#define BUZZER_PIN 6
#define TRANSFORMER_PIN 7

/* Tank1 Tank2 House and Garage desc show up on the LCD display */
/* They need to be 5 chars + 1 blank space at the end */
/* The other desc are only used in server.pde in the dump section. */
/* They are all used in the slave display if the display is connected */
struct slave_status ss[NUM_SLAVE_PINS] = {
    {PUMP_PIN, LOW, 0ul, 0ul, "Pump "},
    {PUMP_GARAGE_PIN, LOW, 0ul, 0ul, "GrgPmp"},
    {ZONE_WATER_TANK1_PIN, LOW, 0ul, 0ul, "Tank1 "},
    {ZONE_WATER_TANK2_PIN, LOW, 0ul, 0ul, "Tank2 "},
    {ZONE_HOUSE_PIN, LOW, 0ul, 0ul, "House "},
    {ZONE_GARAGE_PIN, LOW, 0ul, 0ul, "Garag "},
    {ZONE_STIEBEL_PIN, LOW, 0ul, 0ul, "Stieb "},
    {TRANSFORMER_PIN, LOW, 0ul, 0ul, "Trans "},
    {BUZZER_PIN, LOW, 0ul, 0ul, "Buzzer"},
};
/* display strings for LCD */
char *Line0 = "?x00?y0";
char *Line1 = "?x00?y1";
char *Line2 = "?x00?y2";
char *Line3 = "?x00?y3";
char *Line0Clr = "?x00?y0?l";
char *Line1Clr = "?x00?y1?l";
char *Line2Clr = "?x00?y2?l";
char *Line3Clr = "?x00?y3?l";
char *Saved = "Saved";
char *ClrScr = "?f";
char *BkLtHalf = "?B40";
char *BkLtOff = "?B00";
char colon = ':';
char Zero = '0';
char *Space6 = " ";